## Capability
Acceleration Sensor
Actuator
Alarm
Audio Notification
Battery
Beacon
Buffered Video Capture
Button
Carbon Dioxide Measurement
Carbon Monoxide Detector
Color Control
Color Temperature
Configuration
Consumable
Contact Sensor
Door Control
Energy Meter
Estimated Time Of Arrival
Garage Door Control
Health Check
Illuminance Measurement
Image Capture
Indicator
Light
Location Mode
Lock
Lock Codes
Media Controller
Momentary
Motion Sensor
Music Player
Notification
pH Measurement
Polling
Power
Power Meter
Power Source
Presence Sensor
Refresh
Relative Humidity Measurement
Relay Switch
Samsung TV
Sensor
Shock Sensor
Signal Strength
Sleep Sensor
Smoke Detector
Sound Pressure Level
Sound Sensor
Speech Recognition
Speech Synthesis
Step Sensor
Switch
Switch Level
Tamper Alert
Temperature Measurement
Test Capability
Thermostat
Thermostat Cooling Setpoint
Thermostat Fan Mode
Thermostat Heating Setpoint
Thermostat Mode
Thermostat Operating State
Thermostat Schedule
Thermostat Setpoint
Three Axis
Timed Session
Tone
Touch Sensor
TV
Ultraviolet Index
Valve
Video Camera
Video Capture
Voltage Measurement
Water Sensor
Window Shade
Zw Multichannel

## AttributeChannelMap
Acceleration Sensor | acceleration | ENUM
Alarm | alarm | ENUM
Audio Notification |  |  | playText(NUMBER,STRING)
Audio Notification |  |  | playTextAndRestore(STRING,NUMBER)
Audio Notification |  |  | playTextAndResume(STRING,NUMBER)
Audio Notification |  |  | playTrack(NUMBER,STRING)
Audio Notification |  |  | playTrackAndRestore(STRING,NUMBER)
Audio Notification |  |  | playTrackAndResume(STRING,NUMBER)
Battery | battery | NUMBER
Beacon | presence | ENUM
Buffered Video Capture | clip | JSON_OBJECT
Buffered Video Capture |  |  | capture(DATE,DATE,DATE)
Button | button | ENUM
Button | numberOfButtons | NUMBER
Carbon Dioxide Measurement | carbonDioxide | NUMBER
Carbon Monoxide Detector | carbonMonoxide | ENUM
Color Control | color | STRING
Color Control | hue | NUMBER
Color Control | saturation | NUMBER
Color Temperature | colorTemperature | NUMBER
Configuration |  |  | configure()
Consumable | consumableStatus | ENUM
Contact Sensor | contact | ENUM
Door Control | door | ENUM
Energy Meter | energy | NUMBER
Estimated Time Of Arrival | eta | DATE
Garage Door Control | door | ENUM
Health Check | checkInterval | NUMBER
Health Check |  |  | ping()
Illuminance Measurement | illuminance | NUMBER
Image Capture | image | STRING
Image Capture |  |  | take()
Indicator | indicatorStatus | ENUM
Light | switch | ENUM
Location Mode | mode | DYNAMIC_ENUM
Lock | lock | ENUM
Lock Codes | codeChanged | STRING
Lock Codes | codeReport | JSON_OBJECT
Lock Codes | lock | ENUM
Lock Codes |  |  | deleteCode(NUMBER)
Lock Codes |  |  | reloadAllCodes()
Lock Codes |  |  | requestCode(NUMBER)
Lock Codes |  |  | setCode(NUMBER,STRING)
Lock Codes |  |  | updateCodes(JSON_OBJECT)
Media Controller | activities | JSON_OBJECT
Media Controller | currentActivity | STRING
Media Controller |  |  | getAllActivities()
Media Controller |  |  | getCurrentActivity()
Media Controller |  |  | startActivity(STRING)
Momentary |  |  | push()
Motion Sensor | motion | ENUM
Music Player | level | NUMBER
Music Player | mute | ENUM
Music Player | status | STRING
Music Player | trackData | JSON_OBJECT
Music Player | trackDescription | STRING
Music Player |  |  | nextTrack()
Music Player |  |  | pause()
Music Player |  |  | play()
Music Player |  |  | playTrack(STRING)
Music Player |  |  | previousTrack()
Music Player |  |  | restoreTrack(STRING)
Music Player |  |  | resumeTrack(STRING)
Music Player |  |  | setLevel(NUMBER)
Music Player |  |  | setTrack(STRING)
Music Player |  |  | stop()
Notification |  |  | deviceNotification(STRING)
pH Measurement | pH | NUMBER
Polling |  |  | poll()
Power | powerSource | ENUM
Power Meter | power | NUMBER
Power Source | powerSource | ENUM
Presence Sensor | presence | ENUM
Refresh |  |  | refresh()
Relative Humidity Measurement | humidity | NUMBER
Relay Switch | switch | ENUM
Samsung TV | messageButton | JSON_OBJECT
Samsung TV | mute | ENUM
Samsung TV | pictureMode | ENUM
Samsung TV | soundMode | ENUM
Samsung TV | switch | ENUM
Samsung TV | volume | NUMBER
Samsung TV |  |  | showMessage(STRING,STRING,STRING,STRING)
Samsung TV |  |  | volumeDown()
Samsung TV |  |  | volumeUp()
Shock Sensor | shock | ENUM
Signal Strength | lqi | NUMBER
Signal Strength | rssi | NUMBER
Sleep Sensor | sleeping | ENUM
Smoke Detector | smoke | ENUM
Sound Pressure Level | soundPressureLevel | NUMBER
Sound Sensor | sound | ENUM
Speech Recognition | phraseSpoken | STRING
Speech Synthesis |  |  | speak(STRING)
Step Sensor | goal | NUMBER
Step Sensor | steps | NUMBER
Switch | switch | ENUM
Switch Level | level | NUMBER
Tamper Alert | tamper | ENUM
Temperature Measurement | temperature | NUMBER
Thermostat | coolingSetpoint | NUMBER
Thermostat | heatingSetpoint | NUMBER
Thermostat | schedule | JSON_OBJECT
Thermostat | temperature | NUMBER
Thermostat | thermostatFanMode | ENUM
Thermostat | thermostatMode | ENUM
Thermostat | thermostatOperatingState | ENUM
Thermostat | thermostatSetpoint | NUMBER
Thermostat |  |  | setSchedule(JSON_OBJECT)
Thermostat |  |  | setThermostatFanMode(ENUM)
Thermostat |  |  | setThermostatMode(ENUM)
Thermostat Cooling Setpoint | coolingSetpoint | NUMBER
Thermostat Fan Mode | thermostatFanMode | ENUM
Thermostat Fan Mode |  |  | setThermostatFanMode(ENUM)
Thermostat Heating Setpoint | heatingSetpoint | NUMBER
Thermostat Mode | thermostatMode | ENUM
Thermostat Mode |  |  | setThermostatMode(ENUM)
Thermostat Operating State | thermostatOperatingState | ENUM
Thermostat Schedule | schedule | JSON_OBJECT | setSchedule(JSON_OBJECT)
Thermostat Setpoint | thermostatSetpoint | NUMBER
Three Axis | threeAxis | VECTOR3
Timed Session | sessionStatus | ENUM
Timed Session | timeRemaining | NUMBER
Tone |  |  | beep()
Touch Sensor | touch | ENUM
TV | channel | NUMBER
TV | movieMode | STRING
TV | picture | STRING
TV | power | STRING
TV | sound | STRING
TV | volume | NUMBER
TV |  |  | channelDown()
TV |  |  | channelUp()
TV |  |  | volumeDown()
TV |  |  | volumeUp()
Ultraviolet Index | ultravioletIndex | NUMBER
Valve | contact | ENUM
Valve | valve | ENUM
Video Camera | camera | ENUM
Video Camera | mute | ENUM
Video Camera | settings | JSON_OBJECT
Video Camera | statusMessage | STRING
Video Camera |  |  | flip()
Video Capture | clip | JSON_OBJECT
Video Capture |  |  | capture(DATE,DATE,DATE)
Voltage Measurement | voltage | NUMBER
Water Sensor | water | ENUM
Window Shade | windowShade | ENUM
Window Shade |  |  | presetPosition()
Zw Multichannel | epEvent | STRING
Zw Multichannel | epInfo | STRING
Zw Multichannel |  |  | enableEpEvents(STRING)
Zw Multichannel |  |  | epCmd(NUMBER,STRING)

## AttributeCommandMap
Acceleration Sensor | acceleration | ENUM | active
Acceleration Sensor | acceleration | ENUM | inactive
Alarm | alarm | ENUM | both | both() | attributeCommandMap.put("Alarm_alarm_both","both()");
Alarm | alarm | ENUM | off | off() | attributeCommandMap.put("Alarm_alarm_off","off()");
Alarm | alarm | ENUM | siren | siren() | attributeCommandMap.put("Alarm_alarm_siren","siren()");
Alarm | alarm | ENUM | strobe | strobe() | attributeCommandMap.put("Alarm_alarm_strobe","strobe()");
Audio Notification |  |  |  | playText(NUMBER,STRING)
Audio Notification |  |  |  | playTextAndRestore(STRING,NUMBER)
Audio Notification |  |  |  | playTextAndResume(STRING,NUMBER)
Audio Notification |  |  |  | playTrack(NUMBER,STRING)
Audio Notification |  |  |  | playTrackAndRestore(STRING,NUMBER)
Audio Notification |  |  |  | playTrackAndResume(STRING,NUMBER)
Battery | battery | NUMBER
Beacon | presence | ENUM | not present
Beacon | presence | ENUM | present
Buffered Video Capture | clip | JSON_OBJECT
Buffered Video Capture |  |  |  | capture(DATE,DATE,DATE)
Button | button | ENUM | held
Button | button | ENUM | pushed
Button | numberOfButtons | NUMBER
Carbon Dioxide Measurement | carbonDioxide | NUMBER
Carbon Monoxide Detector | carbonMonoxide | ENUM | clear
Carbon Monoxide Detector | carbonMonoxide | ENUM | detected
Carbon Monoxide Detector | carbonMonoxide | ENUM | tested
Color Control | color | STRING |  | setColor(COLOR_MAP)
Color Control | hue | NUMBER |  | setHue(NUMBER)
Color Control | saturation | NUMBER |  | setSaturation(NUMBER)
Color Temperature | colorTemperature | NUMBER |  | setColorTemperature(NUMBER)
Configuration |  |  |  | configure()
Consumable | consumableStatus | ENUM | good
Consumable | consumableStatus | ENUM | maintenance_required | setConsumableStatus(STRING) | attributeCommandMap.put("Consumable_consumableStatus_maintenance_required","setConsumableStatus(STRING)");
Consumable | consumableStatus | ENUM | missing | setConsumableStatus(STRING) | attributeCommandMap.put("Consumable_consumableStatus_missing","setConsumableStatus(STRING)");
Consumable | consumableStatus | ENUM | order | setConsumableStatus(STRING) | attributeCommandMap.put("Consumable_consumableStatus_order","setConsumableStatus(STRING)");
Consumable | consumableStatus | ENUM | replace | setConsumableStatus(STRING) | attributeCommandMap.put("Consumable_consumableStatus_replace","setConsumableStatus(STRING)");
Contact Sensor | contact | ENUM | closed
Contact Sensor | contact | ENUM | open | open() | attributeCommandMap.put("Contact Sensor_contact_open","open()");
Door Control | door | ENUM | closed | close() | attributeCommandMap.put("Door Control_door_closed","close()");
Door Control | door | ENUM | closing
Door Control | door | ENUM | open
Door Control | door | ENUM | opening
Door Control | door | ENUM | unknown
Energy Meter | energy | NUMBER
Estimated Time Of Arrival | eta | DATE
Garage Door Control | door | ENUM | closed | close() | attributeCommandMap.put("Garage Door Control_door_closed","close()");
Garage Door Control | door | ENUM | closing
Garage Door Control | door | ENUM | open | open() | attributeCommandMap.put("Garage Door Control_door_open","open()");
Garage Door Control | door | ENUM | opening
Garage Door Control | door | ENUM | unknown
Health Check | checkInterval | NUMBER
Health Check |  |  |  | ping()
Illuminance Measurement | illuminance | NUMBER
Image Capture | image | STRING
Image Capture |  |  |  | take()
Indicator | indicatorStatus | ENUM | never | indicatorNever() | attributeCommandMap.put("Indicator_indicatorStatus_never","indicatorNever()");
Indicator | indicatorStatus | ENUM | when off | indicatorWhenOff() | attributeCommandMap.put("Indicator_indicatorStatus_when off","indicatorWhenOff()");
Indicator | indicatorStatus | ENUM | when on | indicatorWhenOn() | attributeCommandMap.put("Indicator_indicatorStatus_when on","indicatorWhenOn()");
Light | switch | ENUM | off | off() | attributeCommandMap.put("Light_switch_off","off()");
Light | switch | ENUM | on | on() | attributeCommandMap.put("Light_switch_on","on()");
Location Mode | mode | DYNAMIC_ENUM
Lock | lock | ENUM | locked | lock() | attributeCommandMap.put("Lock_lock_locked","lock()");
Lock | lock | ENUM | unknown
Lock | lock | ENUM | unlocked | unlock() | attributeCommandMap.put("Lock_lock_unlocked","unlock()");
Lock | lock | ENUM | unlocked with timeout
Lock Codes | codeChanged | STRING
Lock Codes | codeReport | JSON_OBJECT
Lock Codes | lock | ENUM | locked | lock() | attributeCommandMap.put("Lock Codes_lock_locked","lock()");
Lock Codes | lock | ENUM | unknown
Lock Codes | lock | ENUM | unlocked | unlock() | attributeCommandMap.put("Lock Codes_lock_unlocked","unlock()");
Lock Codes | lock | ENUM | unlocked with timeout
Lock Codes |  |  |  | deleteCode(NUMBER)
Lock Codes |  |  |  | reloadAllCodes()
Lock Codes |  |  |  | requestCode(NUMBER)
Lock Codes |  |  |  | setCode(NUMBER,STRING)
Lock Codes |  |  |  | updateCodes(JSON_OBJECT)
Media Controller | activities | JSON_OBJECT
Media Controller | currentActivity | STRING
Media Controller |  |  |  | getAllActivities()
Media Controller |  |  |  | getCurrentActivity()
Media Controller |  |  |  | startActivity(STRING)
Momentary |  |  |  | push()
Motion Sensor | motion | ENUM | active
Motion Sensor | motion | ENUM | inactive
Music Player | level | NUMBER
Music Player | mute | ENUM | muted | mute() | attributeCommandMap.put("Music Player_mute_muted","mute()");
Music Player | mute | ENUM | unmuted | unmute() | attributeCommandMap.put("Music Player_mute_unmuted","unmute()");
Music Player | status | STRING
Music Player | trackData | JSON_OBJECT
Music Player | trackDescription | STRING
Music Player |  |  |  | nextTrack()
Music Player |  |  |  | pause()
Music Player |  |  |  | play()
Music Player |  |  |  | playTrack(STRING)
Music Player |  |  |  | previousTrack()
Music Player |  |  |  | restoreTrack(STRING)
Music Player |  |  |  | resumeTrack(STRING)
Music Player |  |  |  | setLevel(NUMBER)
Music Player |  |  |  | setTrack(STRING)
Music Player |  |  |  | stop()
Notification |  |  |  | deviceNotification(STRING)
pH Measurement | pH | NUMBER
Polling |  |  |  | poll()
Power | powerSource | ENUM | battery
Power | powerSource | ENUM | dc
Power | powerSource | ENUM | mains
Power | powerSource | ENUM | unknown
Power Meter | power | NUMBER
Power Source | powerSource | ENUM | battery
Power Source | powerSource | ENUM | dc
Power Source | powerSource | ENUM | mains
Power Source | powerSource | ENUM | unknown
Presence Sensor | presence | ENUM | not present
Presence Sensor | presence | ENUM | present
Refresh |  |  |  | refresh()
Relative Humidity Measurement | humidity | NUMBER
Relay Switch | switch | ENUM | off | off() | attributeCommandMap.put("Relay Switch_switch_off","off()");
Relay Switch | switch | ENUM | on | on() | attributeCommandMap.put("Relay Switch_switch_on","on()");
Samsung TV | messageButton | JSON_OBJECT
Samsung TV | mute | ENUM | muted | mute() | attributeCommandMap.put("Samsung TV_mute_muted","mute()");
Samsung TV | mute | ENUM | unknown
Samsung TV | mute | ENUM | unmuted | unmute() | attributeCommandMap.put("Samsung TV_mute_unmuted","unmute()");
Samsung TV | pictureMode | ENUM | dynamic | setPictureMode(ENUM) | attributeCommandMap.put("Samsung TV_pictureMode_dynamic","setPictureMode(ENUM)");
Samsung TV | pictureMode | ENUM | movie | setPictureMode(ENUM) | attributeCommandMap.put("Samsung TV_pictureMode_movie","setPictureMode(ENUM)");
Samsung TV | pictureMode | ENUM | standard | setPictureMode(ENUM) | attributeCommandMap.put("Samsung TV_pictureMode_standard","setPictureMode(ENUM)");
Samsung TV | pictureMode | ENUM | unknown | setPictureMode(ENUM) | attributeCommandMap.put("Samsung TV_pictureMode_unknown","setPictureMode(ENUM)");
Samsung TV | soundMode | ENUM | clear voice | setSoundMode(ENUM) | attributeCommandMap.put("Samsung TV_soundMode_clear voice","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | movie | setSoundMode(ENUM) | attributeCommandMap.put("Samsung TV_soundMode_movie","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | music | setSoundMode(ENUM) | attributeCommandMap.put("Samsung TV_soundMode_music","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | standard | setSoundMode(ENUM) | attributeCommandMap.put("Samsung TV_soundMode_standard","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | unknown | setSoundMode(ENUM) | attributeCommandMap.put("Samsung TV_soundMode_unknown","setSoundMode(ENUM)");
Samsung TV | switch | ENUM | off | off() | attributeCommandMap.put("Samsung TV_switch_off","off()");
Samsung TV | switch | ENUM | on | on() | attributeCommandMap.put("Samsung TV_switch_on","on()");
Samsung TV | volume | NUMBER |  | setVolume(NUMBER)
Samsung TV |  |  |  | showMessage(STRING,STRING,STRING,STRING)
Samsung TV |  |  |  | volumeDown()
Samsung TV |  |  |  | volumeUp()
Shock Sensor | shock | ENUM | clear
Shock Sensor | shock | ENUM | detected
Signal Strength | lqi | NUMBER
Signal Strength | rssi | NUMBER
Sleep Sensor | sleeping | ENUM | not sleeping
Sleep Sensor | sleeping | ENUM | sleeping
Smoke Detector | smoke | ENUM | clear
Smoke Detector | smoke | ENUM | detected
Smoke Detector | smoke | ENUM | tested
Sound Pressure Level | soundPressureLevel | NUMBER
Sound Sensor | sound | ENUM | detected
Sound Sensor | sound | ENUM | not detected
Speech Recognition | phraseSpoken | STRING
Speech Synthesis |  |  |  | speak(STRING)
Step Sensor | goal | NUMBER
Step Sensor | steps | NUMBER
Switch | switch | ENUM | off | off() | attributeCommandMap.put("Switch_switch_off","off()");
Switch | switch | ENUM | on | on() | attributeCommandMap.put("Switch_switch_on","on()");
Switch Level | level | NUMBER |  | setLevel(NUMBER,NUMBER)
Tamper Alert | tamper | ENUM | clear
Tamper Alert | tamper | ENUM | detected
Temperature Measurement | temperature | NUMBER
Thermostat | coolingSetpoint | NUMBER |  | setCoolingSetpoint(NUMBER)
Thermostat | heatingSetpoint | NUMBER |  | setHeatingSetpoint(NUMBER)
Thermostat | schedule | JSON_OBJECT
Thermostat | temperature | NUMBER
Thermostat | thermostatFanMode | ENUM | auto | fanAuto() | attributeCommandMap.put("Thermostat_thermostatFanMode_auto","fanAuto()");
Thermostat | thermostatFanMode | ENUM | circulate | fanCirculate() | attributeCommandMap.put("Thermostat_thermostatFanMode_circulate","fanCirculate()");
Thermostat | thermostatFanMode | ENUM | on | fanOn() | attributeCommandMap.put("Thermostat_thermostatFanMode_on","fanOn()");
Thermostat | thermostatMode | ENUM | auto | auto() | attributeCommandMap.put("Thermostat_thermostatMode_auto","auto()");
Thermostat | thermostatMode | ENUM | cool | cool() | attributeCommandMap.put("Thermostat_thermostatMode_cool","cool()");
Thermostat | thermostatMode | ENUM | emergency heat | emergencyHeat() | attributeCommandMap.put("Thermostat_thermostatMode_emergency heat","emergencyHeat()");
Thermostat | thermostatMode | ENUM | heat | heat() | attributeCommandMap.put("Thermostat_thermostatMode_heat","heat()");
Thermostat | thermostatMode | ENUM | off | off() | attributeCommandMap.put("Thermostat_thermostatMode_off","off()");
Thermostat | thermostatOperatingState | ENUM | cooling
Thermostat | thermostatOperatingState | ENUM | fan only
Thermostat | thermostatOperatingState | ENUM | heating
Thermostat | thermostatOperatingState | ENUM | idle
Thermostat | thermostatOperatingState | ENUM | pending cool
Thermostat | thermostatOperatingState | ENUM | pending heat
Thermostat | thermostatOperatingState | ENUM | vent economizer
Thermostat | thermostatSetpoint | NUMBER
Thermostat |  |  |  | setSchedule(JSON_OBJECT)
Thermostat |  |  |  | setThermostatFanMode(ENUM)
Thermostat |  |  |  | setThermostatMode(ENUM)
Thermostat Cooling Setpoint | coolingSetpoint | NUMBER |  | setCoolingSetpoint(NUMBER)
Thermostat Fan Mode | thermostatFanMode | ENUM | auto | fanAuto() | attributeCommandMap.put("Thermostat Fan Mode_thermostatFanMode_auto","fanAuto()");
Thermostat Fan Mode | thermostatFanMode | ENUM | circulate | fanCirculate() | attributeCommandMap.put("Thermostat Fan Mode_thermostatFanMode_circulate","fanCirculate()");
Thermostat Fan Mode | thermostatFanMode | ENUM | on | fanOn() | attributeCommandMap.put("Thermostat Fan Mode_thermostatFanMode_on","fanOn()");
Thermostat Fan Mode |  |  |  | setThermostatFanMode(ENUM)
Thermostat Heating Setpoint | heatingSetpoint | NUMBER |  | setHeatingSetpoint(NUMBER)
Thermostat Mode | thermostatMode | ENUM | auto | auto() | attributeCommandMap.put("Thermostat Mode_thermostatMode_auto","auto()");
Thermostat Mode | thermostatMode | ENUM | cool | cool() | attributeCommandMap.put("Thermostat Mode_thermostatMode_cool","cool()");
Thermostat Mode | thermostatMode | ENUM | emergency heat | emergencyHeat() | attributeCommandMap.put("Thermostat Mode_thermostatMode_emergency heat","emergencyHeat()");
Thermostat Mode | thermostatMode | ENUM | heat | heat() | attributeCommandMap.put("Thermostat Mode_thermostatMode_heat","heat()");
Thermostat Mode | thermostatMode | ENUM | off | off() | attributeCommandMap.put("Thermostat Mode_thermostatMode_off","off()");
Thermostat Mode |  |  |  | setThermostatMode(ENUM)
Thermostat Operating State | thermostatOperatingState | ENUM | cooling
Thermostat Operating State | thermostatOperatingState | ENUM | fan only
Thermostat Operating State | thermostatOperatingState | ENUM | heating
Thermostat Operating State | thermostatOperatingState | ENUM | idle
Thermostat Operating State | thermostatOperatingState | ENUM | pending cool
Thermostat Operating State | thermostatOperatingState | ENUM | pending heat
Thermostat Operating State | thermostatOperatingState | ENUM | vent economizer
Thermostat Schedule | schedule | JSON_OBJECT |  | setSchedule(JSON_OBJECT)
Thermostat Setpoint | thermostatSetpoint | NUMBER
Three Axis | threeAxis | VECTOR3
Timed Session | sessionStatus | ENUM | canceled | cancel() | attributeCommandMap.put("Timed Session_sessionStatus_canceled","cancel()");
Timed Session | sessionStatus | ENUM | paused | pause() | attributeCommandMap.put("Timed Session_sessionStatus_paused","pause()");
Timed Session | sessionStatus | ENUM | running | start() | attributeCommandMap.put("Timed Session_sessionStatus_running","start()");
Timed Session | sessionStatus | ENUM | stopped | stop() | attributeCommandMap.put("Timed Session_sessionStatus_stopped","stop()");
Timed Session | timeRemaining | NUMBER |  | setTimeRemaining(NUMBER)
Tone |  |  |  | beep()
Touch Sensor | touch | ENUM | touched
TV | channel | NUMBER
TV | movieMode | STRING
TV | picture | STRING
TV | power | STRING
TV | sound | STRING
TV | volume | NUMBER
TV |  |  |  | channelDown()
TV |  |  |  | channelUp()
TV |  |  |  | volumeDown()
TV |  |  |  | volumeUp()
Ultraviolet Index | ultravioletIndex | NUMBER
Valve | contact | ENUM | closed | close() | attributeCommandMap.put("Valve_contact_closed","close()");
Valve | contact | ENUM | open | open() | attributeCommandMap.put("Valve_contact_open","open()");
Valve | valve | ENUM | closed | close() | attributeCommandMap.put("Valve_valve_closed","close()");
Valve | valve | ENUM | open | open() | attributeCommandMap.put("Valve_valve_open","open()");
Video Camera | camera | ENUM | off | off() | attributeCommandMap.put("Video Camera_camera_off","off()");
Video Camera | camera | ENUM | on | on() | attributeCommandMap.put("Video Camera_camera_on","on()");
Video Camera | camera | ENUM | restarting
Video Camera | camera | ENUM | unavailable
Video Camera | mute | ENUM | muted | mute() | attributeCommandMap.put("Video Camera_mute_muted","mute()");
Video Camera | mute | ENUM | unmuted | unmute() | attributeCommandMap.put("Video Camera_mute_unmuted","unmute()");
Video Camera | settings | JSON_OBJECT
Video Camera | statusMessage | STRING
Video Camera |  |  |  | flip()
Video Capture | clip | JSON_OBJECT
Video Capture |  |  |  | capture(DATE,DATE,DATE)
Voltage Measurement | voltage | NUMBER
Water Sensor | water | ENUM | dry
Water Sensor | water | ENUM | wet
Window Shade | windowShade | ENUM | closed | close() | attributeCommandMap.put("Window Shade_windowShade_closed","close()");
Window Shade | windowShade | ENUM | closing
Window Shade | windowShade | ENUM | open | open() | attributeCommandMap.put("Window Shade_windowShade_open","open()");
Window Shade | windowShade | ENUM | opening
Window Shade | windowShade | ENUM | partially open
Window Shade | windowShade | ENUM | unknown
Window Shade |  |  |  | presetPosition()
Zw Multichannel | epEvent | STRING
Zw Multichannel | epInfo | STRING
Zw Multichannel |  |  |  | enableEpEvents(STRING)
Zw Multichannel |  |  |  | epCmd(NUMBER,STRING)