## Capability
Acceleration Sensor
Actuator
Alarm
Audio Notification
Battery
Beacon
Buffered Video Capture
Button
Carbon Dioxide Measurement
Carbon Monoxide Detector
Color Control
Color Temperature
Configuration
Consumable
Contact Sensor
Door Control
Energy Meter
Estimated Time Of Arrival
Garage Door Control
Health Check
Illuminance Measurement
Image Capture
Indicator
Light
Location Mode
Lock
Lock Codes
Media Controller
Momentary
Motion Sensor
Music Player
Notification
pH Measurement
Polling
Power
Power Meter
Power Source
Presence Sensor
Refresh
Relative Humidity Measurement
Relay Switch
Samsung TV
Sensor
Shock Sensor
Signal Strength
Sleep Sensor
Smoke Detector
Sound Pressure Level
Sound Sensor
Speech Recognition
Speech Synthesis
Step Sensor
Switch
Switch Level
Tamper Alert
Temperature Measurement
Test Capability
Thermostat
Thermostat Cooling Setpoint
Thermostat Fan Mode
Thermostat Heating Setpoint
Thermostat Mode
Thermostat Operating State
Thermostat Schedule
Thermostat Setpoint
Three Axis
Timed Session
Tone
Touch Sensor
TV
Ultraviolet Index
Valve
Video Camera
Video Capture
Voltage Measurement
Water Sensor
Window Shade
Zw Multichannel

## AttributeChannelMap
Acceleration Sensor | acceleration | ENUM
Alarm | alarm | ENUM
Audio Notification |  |  | playText(NUMBER,STRING)
Audio Notification |  |  | playTextAndRestore(STRING,NUMBER)
Audio Notification |  |  | playTextAndResume(STRING,NUMBER)
Audio Notification |  |  | playTrack(NUMBER,STRING)
Audio Notification |  |  | playTrackAndRestore(STRING,NUMBER)
Audio Notification |  |  | playTrackAndResume(STRING,NUMBER)
Battery | battery | NUMBER
Beacon | presence | ENUM
Buffered Video Capture | clip | JSON_OBJECT
Buffered Video Capture |  |  | capture(DATE,DATE,DATE)
Button | button | ENUM
Button | numberOfButtons | NUMBER
Carbon Dioxide Measurement | carbonDioxide | NUMBER
Carbon Monoxide Detector | carbonMonoxide | ENUM
Color Control | color | STRING
Color Control | hue | NUMBER
Color Control | saturation | NUMBER
Color Temperature | colorTemperature | NUMBER
Configuration |  |  | configure()
Consumable | consumableStatus | ENUM
Contact Sensor | contact | ENUM
Door Control | door | ENUM
Energy Meter | energy | NUMBER
Estimated Time Of Arrival | eta | DATE
Garage Door Control | door | ENUM
Health Check | checkInterval | NUMBER
Health Check |  |  | ping()
Illuminance Measurement | illuminance | NUMBER
Image Capture | image | STRING
Image Capture |  |  | take()
Indicator | indicatorStatus | ENUM
Light | switch | ENUM
Location Mode | mode | DYNAMIC_ENUM
Lock | lock | ENUM
Lock Codes | codeChanged | STRING
Lock Codes | codeReport | JSON_OBJECT
Lock Codes | lock | ENUM
Lock Codes |  |  | deleteCode(NUMBER)
Lock Codes |  |  | reloadAllCodes()
Lock Codes |  |  | requestCode(NUMBER)
Lock Codes |  |  | setCode(NUMBER,STRING)
Lock Codes |  |  | updateCodes(JSON_OBJECT)
Media Controller | activities | JSON_OBJECT
Media Controller | currentActivity | STRING
Media Controller |  |  | getAllActivities()
Media Controller |  |  | getCurrentActivity()
Media Controller |  |  | startActivity(STRING)
Momentary |  |  | push()
Motion Sensor | motion | ENUM
Music Player | level | NUMBER
Music Player | mute | ENUM
Music Player | status | STRING
Music Player | trackData | JSON_OBJECT
Music Player | trackDescription | STRING
Music Player |  |  | nextTrack()
Music Player |  |  | pause()
Music Player |  |  | play()
Music Player |  |  | playTrack(STRING)
Music Player |  |  | previousTrack()
Music Player |  |  | restoreTrack(STRING)
Music Player |  |  | resumeTrack(STRING)
Music Player |  |  | setLevel(NUMBER)
Music Player |  |  | setTrack(STRING)
Music Player |  |  | stop()
Notification |  |  | deviceNotification(STRING)
pH Measurement | pH | NUMBER
Polling |  |  | poll()
Power | powerSource | ENUM
Power Meter | power | NUMBER
Power Source | powerSource | ENUM
Presence Sensor | presence | ENUM
Refresh |  |  | refresh()
Relative Humidity Measurement | humidity | NUMBER
Relay Switch | switch | ENUM
Samsung TV | messageButton | JSON_OBJECT
Samsung TV | mute | ENUM
Samsung TV | pictureMode | ENUM
Samsung TV | soundMode | ENUM
Samsung TV | switch | ENUM
Samsung TV | volume | NUMBER
Samsung TV |  |  | showMessage(STRING,STRING,STRING,STRING)
Samsung TV |  |  | volumeDown()
Samsung TV |  |  | volumeUp()
Shock Sensor | shock | ENUM
Signal Strength | lqi | NUMBER
Signal Strength | rssi | NUMBER
Sleep Sensor | sleeping | ENUM
Smoke Detector | smoke | ENUM
Sound Pressure Level | soundPressureLevel | NUMBER
Sound Sensor | sound | ENUM
Speech Recognition | phraseSpoken | STRING
Speech Synthesis |  |  | speak(STRING)
Step Sensor | goal | NUMBER
Step Sensor | steps | NUMBER
Switch | switch | ENUM
Switch Level | level | NUMBER
Tamper Alert | tamper | ENUM
Temperature Measurement | temperature | NUMBER
Thermostat | coolingSetpoint | NUMBER
Thermostat | heatingSetpoint | NUMBER
Thermostat | schedule | JSON_OBJECT
Thermostat | temperature | NUMBER
Thermostat | thermostatFanMode | ENUM
Thermostat | thermostatMode | ENUM
Thermostat | thermostatOperatingState | ENUM
Thermostat | thermostatSetpoint | NUMBER
Thermostat |  |  | setSchedule(JSON_OBJECT)
Thermostat |  |  | setThermostatFanMode(ENUM)
Thermostat |  |  | setThermostatMode(ENUM)
Thermostat Cooling Setpoint | coolingSetpoint | NUMBER
Thermostat Fan Mode | thermostatFanMode | ENUM
Thermostat Fan Mode |  |  | setThermostatFanMode(ENUM)
Thermostat Heating Setpoint | heatingSetpoint | NUMBER
Thermostat Mode | thermostatMode | ENUM
Thermostat Mode |  |  | setThermostatMode(ENUM)
Thermostat Operating State | thermostatOperatingState | ENUM
Thermostat Schedule | schedule | JSON_OBJECT | setSchedule(JSON_OBJECT)
Thermostat Setpoint | thermostatSetpoint | NUMBER
Three Axis | threeAxis | VECTOR3
Timed Session | sessionStatus | ENUM
Timed Session | timeRemaining | NUMBER
Tone |  |  | beep()
Touch Sensor | touch | ENUM
TV | channel | NUMBER
TV | movieMode | STRING
TV | picture | STRING
TV | power | STRING
TV | sound | STRING
TV | volume | NUMBER
TV |  |  | channelDown()
TV |  |  | channelUp()
TV |  |  | volumeDown()
TV |  |  | volumeUp()
Ultraviolet Index | ultravioletIndex | NUMBER
Valve | contact | ENUM
Valve | valve | ENUM
Video Camera | camera | ENUM
Video Camera | mute | ENUM
Video Camera | settings | JSON_OBJECT
Video Camera | statusMessage | STRING
Video Camera |  |  | flip()
Video Capture | clip | JSON_OBJECT
Video Capture |  |  | capture(DATE,DATE,DATE)
Voltage Measurement | voltage | NUMBER
Water Sensor | water | ENUM
Window Shade | windowShade | ENUM
Window Shade |  |  | presetPosition()
Zw Multichannel | epEvent | STRING
Zw Multichannel | epInfo | STRING
Zw Multichannel |  |  | enableEpEvents(STRING)
Zw Multichannel |  |  | epCmd(NUMBER,STRING)

## AttributeCommandMap
Acceleration Sensor | acceleration | ENUM | active |  | Acceleration_Sensor_acceleration | Switch
Acceleration Sensor | acceleration | ENUM | inactive |  | Acceleration_Sensor_acceleration | Switch
Alarm | alarm | ENUM | both | both() | Alarm_alarm |  | Alarm_alarm_both:"both()", | attributeCommandMap.put("Alarm_alarm_both","both()");
Alarm | alarm | ENUM | off | off() | Alarm_alarm |  | Alarm_alarm_off:"off()", | attributeCommandMap.put("Alarm_alarm_off","off()");
Alarm | alarm | ENUM | siren | siren() | Alarm_alarm |  | Alarm_alarm_siren:"siren()", | attributeCommandMap.put("Alarm_alarm_siren","siren()");
Alarm | alarm | ENUM | strobe | strobe() | Alarm_alarm |  | Alarm_alarm_strobe:"strobe()", | attributeCommandMap.put("Alarm_alarm_strobe","strobe()");
Audio Notification |  |  |  | playText(NUMBER,STRING)
Audio Notification |  |  |  | playTextAndRestore(STRING,NUMBER)
Audio Notification |  |  |  | playTextAndResume(STRING,NUMBER)
Audio Notification |  |  |  | playTrack(NUMBER,STRING)
Audio Notification |  |  |  | playTrackAndRestore(STRING,NUMBER)
Audio Notification |  |  |  | playTrackAndResume(STRING,NUMBER)
Battery | battery | NUMBER |  |  | Battery_battery | Number
Beacon | presence | ENUM | not present |  | Beacon_presence | Switch
Beacon | presence | ENUM | present |  | Beacon_presence | Switch
Buffered Video Capture | clip | JSON_OBJECT |  |  | Buffered_Video_Capture_clip
Buffered Video Capture |  |  |  | capture(DATE,DATE,DATE)
Button | button | ENUM | held |  | Button_button
Button | button | ENUM | pushed |  | Button_button
Button | numberOfButtons | NUMBER |  |  | Button_numberOfButtons | Number
Carbon Dioxide Measurement | carbonDioxide | NUMBER |  |  | Carbon_Dioxide_Measurement_carbonDioxide | Number
Carbon Monoxide Detector | carbonMonoxide | ENUM | clear |  | Carbon_Monoxide_Detector_carbonMonoxide
Carbon Monoxide Detector | carbonMonoxide | ENUM | detected |  | Carbon_Monoxide_Detector_carbonMonoxide
Carbon Monoxide Detector | carbonMonoxide | ENUM | tested |  | Carbon_Monoxide_Detector_carbonMonoxide
Color Control | color | STRING |  | setColor(COLOR_MAP) | Color_Control_color |  | Color_Control_color:"setColor(COLOR_MAP)", | attributeCommandMap.put("Color Control_color","setColor(COLOR_MAP)");
Color Control | hue | NUMBER |  | setHue(NUMBER) | Color_Control_hue | Number | Color_Control_hue:"setHue(NUMBER)", | attributeCommandMap.put("Color Control_hue","setHue(NUMBER)");
Color Control | saturation | NUMBER |  | setSaturation(NUMBER) | Color_Control_saturation | Number | Color_Control_saturation:"setSaturation(NUMBER)", | attributeCommandMap.put("Color Control_saturation","setSaturation(NUMBER)");
Color Temperature | colorTemperature | NUMBER |  | setColorTemperature(NUMBER) | Color_Temperature_colorTemperature | Number | Color_Temperature_colorTemperature:"setColorTemperature(NUMBER)", | attributeCommandMap.put("Color Temperature_colorTemperature","setColorTemperature(NUMBER)");
Configuration |  |  |  | configure()
Consumable | consumableStatus | ENUM | good |  | Consumable_consumableStatus
Consumable | consumableStatus | ENUM | maintenance_required | setConsumableStatus(STRING) | Consumable_consumableStatus |  | Consumable_consumableStatus_maintenance_required:"setConsumableStatus(STRING)", | attributeCommandMap.put("Consumable_consumableStatus_maintenance_required","setConsumableStatus(STRING)");
Consumable | consumableStatus | ENUM | missing | setConsumableStatus(STRING) | Consumable_consumableStatus |  | Consumable_consumableStatus_missing:"setConsumableStatus(STRING)", | attributeCommandMap.put("Consumable_consumableStatus_missing","setConsumableStatus(STRING)");
Consumable | consumableStatus | ENUM | order | setConsumableStatus(STRING) | Consumable_consumableStatus |  | Consumable_consumableStatus_order:"setConsumableStatus(STRING)", | attributeCommandMap.put("Consumable_consumableStatus_order","setConsumableStatus(STRING)");
Consumable | consumableStatus | ENUM | replace | setConsumableStatus(STRING) | Consumable_consumableStatus |  | Consumable_consumableStatus_replace:"setConsumableStatus(STRING)", | attributeCommandMap.put("Consumable_consumableStatus_replace","setConsumableStatus(STRING)");
Contact Sensor | contact | ENUM | closed |  | Contact_Sensor_contact | Contact
Contact Sensor | contact | ENUM | open |  | Contact_Sensor_contact | Contact
Door Control | door | ENUM | closed |  | Door_Control_door
Door Control | door | ENUM | closing |  | Door_Control_door
Door Control | door | ENUM | open |  | Door_Control_door
Door Control | door | ENUM | opening |  | Door_Control_door
Door Control | door | ENUM | unknown |  | Door_Control_door
Door Control |  |  |  | close()
Door Control |  |  |  | open()
Energy Meter | energy | NUMBER |  |  | Energy_Meter_energy | Number
Estimated Time Of Arrival | eta | DATE |  |  | Estimated_Time_Of_Arrival_eta
Garage Door Control | door | ENUM | closed |  | Garage_Door_Control_door
Garage Door Control | door | ENUM | closing |  | Garage_Door_Control_door
Garage Door Control | door | ENUM | open |  | Garage_Door_Control_door
Garage Door Control | door | ENUM | opening |  | Garage_Door_Control_door
Garage Door Control | door | ENUM | unknown |  | Garage_Door_Control_door
Garage Door Control |  |  |  | open()
Garage Door Control |  |  |  | close()
Health Check | checkInterval | NUMBER |  |  | Health_Check_checkInterval | Number
Health Check |  |  |  | ping()
Illuminance Measurement | illuminance | NUMBER |  |  | Illuminance_Measurement_illuminance | Number
Image Capture | image | STRING |  |  | Image_Capture_image
Image Capture |  |  |  | take()
Indicator | indicatorStatus | ENUM | never | indicatorNever() | Indicator_indicatorStatus |  | Indicator_indicatorStatus_never:"indicatorNever()", | attributeCommandMap.put("Indicator_indicatorStatus_never","indicatorNever()");
Indicator | indicatorStatus | ENUM | when off | indicatorWhenOff() | Indicator_indicatorStatus |  | Indicator_indicatorStatus_when_off:"indicatorWhenOff()", | attributeCommandMap.put("Indicator_indicatorStatus_when off","indicatorWhenOff()");
Indicator | indicatorStatus | ENUM | when on | indicatorWhenOn() | Indicator_indicatorStatus |  | Indicator_indicatorStatus_when_on:"indicatorWhenOn()", | attributeCommandMap.put("Indicator_indicatorStatus_when on","indicatorWhenOn()");
Light | switch | ENUM | off | off() | Light_switch | Switch | Light_switch_off:"off()", | attributeCommandMap.put("Light_switch_off","off()");
Light | switch | ENUM | on | on() | Light_switch | Switch | Light_switch_on:"on()", | attributeCommandMap.put("Light_switch_on","on()");
Location Mode | mode | DYNAMIC_ENUM |  |  | Location_Mode_mode
Lock | lock | ENUM | locked |  | Lock_lock
Lock | lock | ENUM | unknown |  | Lock_lock
Lock | lock | ENUM | unlocked |  | Lock_lock
Lock | lock | ENUM | unlocked with timeout |  | Lock_lock
Lock |  |  |  | lock()
Lock |  |  |  | unlock()
Lock Codes | codeChanged | STRING |  |  | Lock_Codes_codeChanged
Lock Codes | codeReport | JSON_OBJECT |  |  | Lock_Codes_codeReport
Lock Codes | lock | ENUM | locked |  | Lock_Codes_lock
Lock Codes | lock | ENUM | unknown |  | Lock_Codes_lock
Lock Codes | lock | ENUM | unlocked |  | Lock_Codes_lock
Lock Codes | lock | ENUM | unlocked with timeout |  | Lock_Codes_lock
Lock Codes |  |  |  | lock()
Lock Codes |  |  |  | unlock()
Lock Codes |  |  |  | deleteCode(NUMBER)
Lock Codes |  |  |  | reloadAllCodes()
Lock Codes |  |  |  | requestCode(NUMBER)
Lock Codes |  |  |  | setCode(NUMBER,STRING)
Lock Codes |  |  |  | updateCodes(JSON_OBJECT)
Media Controller | activities | JSON_OBJECT |  |  | Media_Controller_activities
Media Controller | currentActivity | STRING |  |  | Media_Controller_currentActivity
Media Controller |  |  |  | getAllActivities()
Media Controller |  |  |  | getCurrentActivity()
Media Controller |  |  |  | startActivity(STRING)
Momentary |  |  |  | push()
Motion Sensor | motion | ENUM | active |  | Motion_Sensor_motion | Switch
Motion Sensor | motion | ENUM | inactive |  | Motion_Sensor_motion | Switch
Music Player | level | NUMBER |  |  | Music_Player_level | Number
Music Player | mute | ENUM | muted | mute() | Music_Player_mute | Switch | Music_Player_mute_muted:"mute()", | attributeCommandMap.put("Music Player_mute_muted","mute()");
Music Player | mute | ENUM | unmuted | unmute() | Music_Player_mute | Switch | Music_Player_mute_unmuted:"unmute()", | attributeCommandMap.put("Music Player_mute_unmuted","unmute()");
Music Player | status | STRING |  |  | Music_Player_status
Music Player | trackData | JSON_OBJECT |  |  | Music_Player_trackData
Music Player | trackDescription | STRING |  |  | Music_Player_trackDescription
Music Player |  |  |  | nextTrack()
Music Player |  |  |  | pause()
Music Player |  |  |  | play()
Music Player |  |  |  | playTrack(STRING)
Music Player |  |  |  | previousTrack()
Music Player |  |  |  | restoreTrack(STRING)
Music Player |  |  |  | resumeTrack(STRING)
Music Player |  |  |  | setLevel(NUMBER)
Music Player |  |  |  | setTrack(STRING)
Music Player |  |  |  | stop()
Notification |  |  |  | deviceNotification(STRING)
pH Measurement | pH | NUMBER |  |  | pH_Measurement_pH | Number
Polling |  |  |  | poll()
Power | powerSource | ENUM | battery |  | Power_powerSource
Power | powerSource | ENUM | dc |  | Power_powerSource
Power | powerSource | ENUM | mains |  | Power_powerSource
Power | powerSource | ENUM | unknown |  | Power_powerSource
Power Meter | power | NUMBER |  |  | Power_Meter_power | Number
Power Source | powerSource | ENUM | battery |  | Power_Source_powerSource
Power Source | powerSource | ENUM | dc |  | Power_Source_powerSource
Power Source | powerSource | ENUM | mains |  | Power_Source_powerSource
Power Source | powerSource | ENUM | unknown |  | Power_Source_powerSource
Presence Sensor | presence | ENUM | not present |  | Presence_Sensor_presence | Switch
Presence Sensor | presence | ENUM | present |  | Presence_Sensor_presence | Switch
Refresh |  |  |  | refresh()
Relative Humidity Measurement | humidity | NUMBER |  |  | Relative_Humidity_Measurement_humidity | Number
Relay Switch | switch | ENUM | off | off() | Relay_Switch_switch | Switch | Relay_Switch_switch_off:"off()", | attributeCommandMap.put("Relay Switch_switch_off","off()");
Relay Switch | switch | ENUM | on | on() | Relay_Switch_switch | Switch | Relay_Switch_switch_on:"on()", | attributeCommandMap.put("Relay Switch_switch_on","on()");
Samsung TV | messageButton | JSON_OBJECT |  |  | Samsung_TV_messageButton
Samsung TV | mute | ENUM | muted | mute() | Samsung_TV_mute | Switch | Samsung_TV_mute_muted:"mute()", | attributeCommandMap.put("Samsung TV_mute_muted","mute()");
Samsung TV | mute | ENUM | unknown |  | Samsung_TV_mute | Switch
Samsung TV | mute | ENUM | unmuted | unmute() | Samsung_TV_mute | Switch | Samsung_TV_mute_unmuted:"unmute()", | attributeCommandMap.put("Samsung TV_mute_unmuted","unmute()");
Samsung TV | pictureMode | ENUM | dynamic | setPictureMode(ENUM) | Samsung_TV_pictureMode |  | Samsung_TV_pictureMode_dynamic:"setPictureMode(ENUM)", | attributeCommandMap.put("Samsung TV_pictureMode_dynamic","setPictureMode(ENUM)");
Samsung TV | pictureMode | ENUM | movie | setPictureMode(ENUM) | Samsung_TV_pictureMode |  | Samsung_TV_pictureMode_movie:"setPictureMode(ENUM)", | attributeCommandMap.put("Samsung TV_pictureMode_movie","setPictureMode(ENUM)");
Samsung TV | pictureMode | ENUM | standard | setPictureMode(ENUM) | Samsung_TV_pictureMode |  | Samsung_TV_pictureMode_standard:"setPictureMode(ENUM)", | attributeCommandMap.put("Samsung TV_pictureMode_standard","setPictureMode(ENUM)");
Samsung TV | pictureMode | ENUM | unknown | setPictureMode(ENUM) | Samsung_TV_pictureMode |  | Samsung_TV_pictureMode_unknown:"setPictureMode(ENUM)", | attributeCommandMap.put("Samsung TV_pictureMode_unknown","setPictureMode(ENUM)");
Samsung TV | soundMode | ENUM | clear voice | setSoundMode(ENUM) | Samsung_TV_soundMode |  | Samsung_TV_soundMode_clear_voice:"setSoundMode(ENUM)", | attributeCommandMap.put("Samsung TV_soundMode_clear voice","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | movie | setSoundMode(ENUM) | Samsung_TV_soundMode |  | Samsung_TV_soundMode_movie:"setSoundMode(ENUM)", | attributeCommandMap.put("Samsung TV_soundMode_movie","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | music | setSoundMode(ENUM) | Samsung_TV_soundMode |  | Samsung_TV_soundMode_music:"setSoundMode(ENUM)", | attributeCommandMap.put("Samsung TV_soundMode_music","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | standard | setSoundMode(ENUM) | Samsung_TV_soundMode |  | Samsung_TV_soundMode_standard:"setSoundMode(ENUM)", | attributeCommandMap.put("Samsung TV_soundMode_standard","setSoundMode(ENUM)");
Samsung TV | soundMode | ENUM | unknown | setSoundMode(ENUM) | Samsung_TV_soundMode |  | Samsung_TV_soundMode_unknown:"setSoundMode(ENUM)", | attributeCommandMap.put("Samsung TV_soundMode_unknown","setSoundMode(ENUM)");
Samsung TV | switch | ENUM | off | off() | Samsung_TV_switch | Switch | Samsung_TV_switch_off:"off()", | attributeCommandMap.put("Samsung TV_switch_off","off()");
Samsung TV | switch | ENUM | on | on() | Samsung_TV_switch | Switch | Samsung_TV_switch_on:"on()", | attributeCommandMap.put("Samsung TV_switch_on","on()");
Samsung TV | volume | NUMBER |  | setVolume(NUMBER) | Samsung_TV_volume | Number | Samsung_TV_volume:"setVolume(NUMBER)", | attributeCommandMap.put("Samsung TV_volume","setVolume(NUMBER)");
Samsung TV |  |  |  | showMessage(STRING,STRING,STRING,STRING)
Samsung TV |  |  |  | volumeDown()
Samsung TV |  |  |  | volumeUp()
Shock Sensor | shock | ENUM | clear |  | Shock_Sensor_shock | Switch
Shock Sensor | shock | ENUM | detected |  | Shock_Sensor_shock | Switch
Signal Strength | lqi | NUMBER |  |  | Signal_Strength_lqi | Number
Signal Strength | rssi | NUMBER |  |  | Signal_Strength_rssi | Number
Sleep Sensor | sleeping | ENUM | not sleeping |  | Sleep_Sensor_sleeping | Switch
Sleep Sensor | sleeping | ENUM | sleeping |  | Sleep_Sensor_sleeping | Switch
Smoke Detector | smoke | ENUM | clear |  | Smoke_Detector_smoke
Smoke Detector | smoke | ENUM | detected |  | Smoke_Detector_smoke
Smoke Detector | smoke | ENUM | tested |  | Smoke_Detector_smoke
Sound Pressure Level | soundPressureLevel | NUMBER |  |  | Sound_Pressure_Level_soundPressureLevel | Number
Sound Sensor | sound | ENUM | detected |  | Sound_Sensor_sound | Switch
Sound Sensor | sound | ENUM | not detected |  | Sound_Sensor_sound | Switch
Speech Recognition | phraseSpoken | STRING |  |  | Speech_Recognition_phraseSpoken
Speech Synthesis |  |  |  | speak(STRING)
Step Sensor | goal | NUMBER |  |  | Step_Sensor_goal | Number
Step Sensor | steps | NUMBER |  |  | Step_Sensor_steps | Number
Switch | switch | ENUM | off | off() | Switch_switch | Switch | Switch_switch_off:"off()", | attributeCommandMap.put("Switch_switch_off","off()");
Switch | switch | ENUM | on | on() | Switch_switch | Switch | Switch_switch_on:"on()", | attributeCommandMap.put("Switch_switch_on","on()");
Switch Level | level | NUMBER |  | setLevel(NUMBER,NUMBER) | Switch_Level_level | Dimmer | Switch_Level_level:"setLevel(NUMBER,NUMBER)", | attributeCommandMap.put("Switch Level_level","setLevel(NUMBER,NUMBER)");
Tamper Alert | tamper | ENUM | clear |  | Tamper_Alert_tamper | Switch
Tamper Alert | tamper | ENUM | detected |  | Tamper_Alert_tamper | Switch
Temperature Measurement | temperature | NUMBER |  |  | Temperature_Measurement_temperature | Number
Thermostat | coolingSetpoint | NUMBER |  | setCoolingSetpoint(NUMBER) | Thermostat_coolingSetpoint | Number | Thermostat_coolingSetpoint:"setCoolingSetpoint(NUMBER)", | attributeCommandMap.put("Thermostat_coolingSetpoint","setCoolingSetpoint(NUMBER)");
Thermostat | heatingSetpoint | NUMBER |  | setHeatingSetpoint(NUMBER) | Thermostat_heatingSetpoint | Number | Thermostat_heatingSetpoint:"setHeatingSetpoint(NUMBER)", | attributeCommandMap.put("Thermostat_heatingSetpoint","setHeatingSetpoint(NUMBER)");
Thermostat | schedule | JSON_OBJECT |  |  | Thermostat_schedule
Thermostat | temperature | NUMBER |  |  | Thermostat_temperature | Number
Thermostat | thermostatFanMode | ENUM | auto | fanAuto() | Thermostat_thermostatFanMode |  | Thermostat_thermostatFanMode_auto:"fanAuto()", | attributeCommandMap.put("Thermostat_thermostatFanMode_auto","fanAuto()");
Thermostat | thermostatFanMode | ENUM | circulate | fanCirculate() | Thermostat_thermostatFanMode |  | Thermostat_thermostatFanMode_circulate:"fanCirculate()", | attributeCommandMap.put("Thermostat_thermostatFanMode_circulate","fanCirculate()");
Thermostat | thermostatFanMode | ENUM | on | fanOn() | Thermostat_thermostatFanMode |  | Thermostat_thermostatFanMode_on:"fanOn()", | attributeCommandMap.put("Thermostat_thermostatFanMode_on","fanOn()");
Thermostat | thermostatMode | ENUM | auto | auto() | Thermostat_thermostatMode |  | Thermostat_thermostatMode_auto:"auto()", | attributeCommandMap.put("Thermostat_thermostatMode_auto","auto()");
Thermostat | thermostatMode | ENUM | cool | cool() | Thermostat_thermostatMode |  | Thermostat_thermostatMode_cool:"cool()", | attributeCommandMap.put("Thermostat_thermostatMode_cool","cool()");
Thermostat | thermostatMode | ENUM | emergency heat | emergencyHeat() | Thermostat_thermostatMode |  | Thermostat_thermostatMode_emergency_heat:"emergencyHeat()", | attributeCommandMap.put("Thermostat_thermostatMode_emergency heat","emergencyHeat()");
Thermostat | thermostatMode | ENUM | heat | heat() | Thermostat_thermostatMode |  | Thermostat_thermostatMode_heat:"heat()", | attributeCommandMap.put("Thermostat_thermostatMode_heat","heat()");
Thermostat | thermostatMode | ENUM | off | off() | Thermostat_thermostatMode |  | Thermostat_thermostatMode_off:"off()", | attributeCommandMap.put("Thermostat_thermostatMode_off","off()");
Thermostat | thermostatOperatingState | ENUM | cooling |  | Thermostat_thermostatOperatingState
Thermostat | thermostatOperatingState | ENUM | fan only |  | Thermostat_thermostatOperatingState
Thermostat | thermostatOperatingState | ENUM | heating |  | Thermostat_thermostatOperatingState
Thermostat | thermostatOperatingState | ENUM | idle |  | Thermostat_thermostatOperatingState
Thermostat | thermostatOperatingState | ENUM | pending cool |  | Thermostat_thermostatOperatingState
Thermostat | thermostatOperatingState | ENUM | pending heat |  | Thermostat_thermostatOperatingState
Thermostat | thermostatOperatingState | ENUM | vent economizer |  | Thermostat_thermostatOperatingState
Thermostat | thermostatSetpoint | NUMBER |  |  | Thermostat_thermostatSetpoint | Number
Thermostat |  |  |  | setSchedule(JSON_OBJECT)
Thermostat |  |  |  | setThermostatFanMode(ENUM)
Thermostat |  |  |  | setThermostatMode(ENUM)
Thermostat Cooling Setpoint | coolingSetpoint | NUMBER |  | setCoolingSetpoint(NUMBER) | Thermostat_Cooling_Setpoint_coolingSetpoint | Number | Thermostat_Cooling_Setpoint_coolingSetpoint:"setCoolingSetpoint(NUMBER)", | attributeCommandMap.put("Thermostat Cooling Setpoint_coolingSetpoint","setCoolingSetpoint(NUMBER)");
Thermostat Fan Mode | thermostatFanMode | ENUM | auto | fanAuto() | Thermostat_Fan_Mode_thermostatFanMode |  | Thermostat_Fan_Mode_thermostatFanMode_auto:"fanAuto()", | attributeCommandMap.put("Thermostat Fan Mode_thermostatFanMode_auto","fanAuto()");
Thermostat Fan Mode | thermostatFanMode | ENUM | circulate | fanCirculate() | Thermostat_Fan_Mode_thermostatFanMode |  | Thermostat_Fan_Mode_thermostatFanMode_circulate:"fanCirculate()", | attributeCommandMap.put("Thermostat Fan Mode_thermostatFanMode_circulate","fanCirculate()");
Thermostat Fan Mode | thermostatFanMode | ENUM | on | fanOn() | Thermostat_Fan_Mode_thermostatFanMode |  | Thermostat_Fan_Mode_thermostatFanMode_on:"fanOn()", | attributeCommandMap.put("Thermostat Fan Mode_thermostatFanMode_on","fanOn()");
Thermostat Fan Mode |  |  |  | setThermostatFanMode(ENUM)
Thermostat Heating Setpoint | heatingSetpoint | NUMBER |  | setHeatingSetpoint(NUMBER) | Thermostat_Heating_Setpoint_heatingSetpoint | Number | Thermostat_Heating_Setpoint_heatingSetpoint:"setHeatingSetpoint(NUMBER)", | attributeCommandMap.put("Thermostat Heating Setpoint_heatingSetpoint","setHeatingSetpoint(NUMBER)");
Thermostat Mode | thermostatMode | ENUM | auto | auto() | Thermostat_Mode_thermostatMode |  | Thermostat_Mode_thermostatMode_auto:"auto()", | attributeCommandMap.put("Thermostat Mode_thermostatMode_auto","auto()");
Thermostat Mode | thermostatMode | ENUM | cool | cool() | Thermostat_Mode_thermostatMode |  | Thermostat_Mode_thermostatMode_cool:"cool()", | attributeCommandMap.put("Thermostat Mode_thermostatMode_cool","cool()");
Thermostat Mode | thermostatMode | ENUM | emergency heat | emergencyHeat() | Thermostat_Mode_thermostatMode |  | Thermostat_Mode_thermostatMode_emergency_heat:"emergencyHeat()", | attributeCommandMap.put("Thermostat Mode_thermostatMode_emergency heat","emergencyHeat()");
Thermostat Mode | thermostatMode | ENUM | heat | heat() | Thermostat_Mode_thermostatMode |  | Thermostat_Mode_thermostatMode_heat:"heat()", | attributeCommandMap.put("Thermostat Mode_thermostatMode_heat","heat()");
Thermostat Mode | thermostatMode | ENUM | off | off() | Thermostat_Mode_thermostatMode |  | Thermostat_Mode_thermostatMode_off:"off()", | attributeCommandMap.put("Thermostat Mode_thermostatMode_off","off()");
Thermostat Mode |  |  |  | setThermostatMode(ENUM)
Thermostat Operating State | thermostatOperatingState | ENUM | cooling |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Operating State | thermostatOperatingState | ENUM | fan only |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Operating State | thermostatOperatingState | ENUM | heating |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Operating State | thermostatOperatingState | ENUM | idle |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Operating State | thermostatOperatingState | ENUM | pending cool |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Operating State | thermostatOperatingState | ENUM | pending heat |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Operating State | thermostatOperatingState | ENUM | vent economizer |  | Thermostat_Operating_State_thermostatOperatingState
Thermostat Schedule | schedule | JSON_OBJECT |  | setSchedule(JSON_OBJECT) | Thermostat_Schedule_schedule |  | Thermostat_Schedule_schedule:"setSchedule(JSON_OBJECT)", | attributeCommandMap.put("Thermostat Schedule_schedule","setSchedule(JSON_OBJECT)");
Thermostat Setpoint | thermostatSetpoint | NUMBER |  |  | Thermostat_Setpoint_thermostatSetpoint | Number
Three Axis | threeAxis | VECTOR3 |  |  | Three_Axis_threeAxis
Timed Session | sessionStatus | ENUM | canceled | cancel() | Timed_Session_sessionStatus |  | Timed_Session_sessionStatus_canceled:"cancel()", | attributeCommandMap.put("Timed Session_sessionStatus_canceled","cancel()");
Timed Session | sessionStatus | ENUM | paused | pause() | Timed_Session_sessionStatus |  | Timed_Session_sessionStatus_paused:"pause()", | attributeCommandMap.put("Timed Session_sessionStatus_paused","pause()");
Timed Session | sessionStatus | ENUM | running | start() | Timed_Session_sessionStatus |  | Timed_Session_sessionStatus_running:"start()", | attributeCommandMap.put("Timed Session_sessionStatus_running","start()");
Timed Session | sessionStatus | ENUM | stopped | stop() | Timed_Session_sessionStatus |  | Timed_Session_sessionStatus_stopped:"stop()", | attributeCommandMap.put("Timed Session_sessionStatus_stopped","stop()");
Timed Session | timeRemaining | NUMBER |  | setTimeRemaining(NUMBER) | Timed_Session_timeRemaining | Number | Timed_Session_timeRemaining:"setTimeRemaining(NUMBER)", | attributeCommandMap.put("Timed Session_timeRemaining","setTimeRemaining(NUMBER)");
Tone |  |  |  | beep()
Touch Sensor | touch | ENUM | touched |  | Touch_Sensor_touch
TV | channel | NUMBER |  |  | TV_channel | Number
TV | movieMode | STRING |  |  | TV_movieMode
TV | picture | STRING |  |  | TV_picture
TV | power | STRING |  |  | TV_power
TV | sound | STRING |  |  | TV_sound
TV | volume | NUMBER |  |  | TV_volume | Number
TV |  |  |  | channelDown()
TV |  |  |  | channelUp()
TV |  |  |  | volumeDown()
TV |  |  |  | volumeUp()
Ultraviolet Index | ultravioletIndex | NUMBER |  |  | Ultraviolet_Index_ultravioletIndex | Number
Valve | contact | ENUM | closed |  | Valve_contact | Contact
Valve | contact | ENUM | open |  | Valve_contact | Contact
Valve | valve | ENUM | closed | close() | Valve_valve | Switch | Valve_valve_closed:"close()", | attributeCommandMap.put("Valve_valve_closed","close()");
Valve | valve | ENUM | open | open() | Valve_valve | Switch | Valve_valve_open:"open()", | attributeCommandMap.put("Valve_valve_open","open()");
Video Camera | camera | ENUM | off | off() | Video_Camera_camera |  | Video_Camera_camera_off:"off()", | attributeCommandMap.put("Video Camera_camera_off","off()");
Video Camera | camera | ENUM | on | on() | Video_Camera_camera |  | Video_Camera_camera_on:"on()", | attributeCommandMap.put("Video Camera_camera_on","on()");
Video Camera | camera | ENUM | restarting |  | Video_Camera_camera
Video Camera | camera | ENUM | unavailable |  | Video_Camera_camera
Video Camera | mute | ENUM | muted | mute() | Video_Camera_mute | Switch | Video_Camera_mute_muted:"mute()", | attributeCommandMap.put("Video Camera_mute_muted","mute()");
Video Camera | mute | ENUM | unmuted | unmute() | Video_Camera_mute | Switch | Video_Camera_mute_unmuted:"unmute()", | attributeCommandMap.put("Video Camera_mute_unmuted","unmute()");
Video Camera | settings | JSON_OBJECT |  |  | Video_Camera_settings
Video Camera | statusMessage | STRING |  |  | Video_Camera_statusMessage
Video Camera |  |  |  | flip()
Video Capture | clip | JSON_OBJECT |  |  | Video_Capture_clip
Video Capture |  |  |  | capture(DATE,DATE,DATE)
Voltage Measurement | voltage | NUMBER |  |  | Voltage_Measurement_voltage | Number
Water Sensor | water | ENUM | dry |  | Water_Sensor_water | Switch
Water Sensor | water | ENUM | wet |  | Water_Sensor_water | Switch
Window Shade | windowShade | ENUM | closed |  | Window_Shade_windowShade
Window Shade | windowShade | ENUM | closing |  | Window_Shade_windowShade
Window Shade | windowShade | ENUM | open |  | Window_Shade_windowShade
Window Shade | windowShade | ENUM | opening |  | Window_Shade_windowShade
Window Shade | windowShade | ENUM | partially open |  | Window_Shade_windowShade
Window Shade | windowShade | ENUM | unknown |  | Window_Shade_windowShade
Window Shade |  |  |  | presetPosition()
Zw Multichannel | epEvent | STRING |  |  | Zw_Multichannel_epEvent
Zw Multichannel | epInfo | STRING |  |  | Zw_Multichannel_epInfo
Zw Multichannel |  |  |  | enableEpEvents(STRING)
Zw Multichannel |  |  |  | epCmd(NUMBER,STRING)
Window Shade |  |  |  | close()
Window Shade |  |  |  | open()